Caledonian Mining Cables

Portable Power Cables

Type W Two-Conductor Flat Portable Power Cable 2kV

� Applications .............................................................................................................

These flat parallel cables are designed for use on DC mining equipment, such as D�C� shuttle cars, drills, cutting and loading machines�

� Standards .................................................................................................................

ICEA S-75-381/NEMA WC 58 ASTM B 172

ASTM B 33

CAN/CSA C22�2 No� 96

� Construction ............................................................................................................

Conductors:

Stranded annealed tinned copper conductor�

Insulation:

Ethylene Propylene Rubber (EPR)�

Reinforcement: Synthetic yarn� Jacket:

Synthetic Yarn Braid Renforcement Stranded Tinned Copper Conductor EPR Insulation

CPE Jacket

Heavy-duty/extra-heavy-duty Chlorinated Polyethylene (CPE), black� (Cables having a nominal outside diameter of more than 2�0 inches require extra-heavy-duty jackets�)

� Options .....................................................................................................................

Other jacket materials such as CSP/PCP/NBR/PVC are available upon request�

Two-layer jacket with reinforcing fibre between the two layers can be oﬀered  as an option�

www.caledonian-cables.co.uk  www.addison-cables.com	3

Caledonian Mining Cables

Portable Power Cables

�  Mechanical and Thermal Properties ......................................................................

Minimum Bending Radius: 6�OD

Maximum Conductor Operating Temperature: +90℃

�  Dimensions and Weight ..........................................................................................

| Construction | No. of Strands | Nominal Insulation Thickness | Nominal Jacket Thickness | Nominal Overall Diameter Height譝idth | Nominal Weight | Ampacity |
| --- | --- | --- | --- | --- | --- | --- |
| No. of cores�AWG/ kcmil | - | inch | mm | inch | mm | inch | mm | lbs/kft | kg/km | A |
| 2�8 | 133 | 0�06 | 1�5 | 0�080 | 2�0 | 0�51�0�84 | 13�0�21�3 | 340 | 506 | 72 |
| 2�6 | 133 | 0�06 | 1�5 | 0�080 | 2�0 | 0�56�0�93 | 14�2�23�6 | 440 | 655 | 95 |
| 2�4 | 259 | 0�06 | 1�5 | 0�095 | 2�4 | 0�61�1�05 | 15�5�26�7 | 550 | 818 | 127 |
| 2�3 | 259 | 0�06 | 1�5 | 0�095 | 2�4 | 0�68�1�14 | 17�3�29�0 | 675 | 1005 | 145 |
| 2�2 | 259 | 0�06 | 1�5 | 0�095 | 2�4 | 0�73�1�24 | 18�5�31�5 | 810 | 1205 | 167 |
| 2�1 | 259 | 0�08 | 2�0 | 0�110 | 2�8 | 0�81�1�40 | 20�6�35�6 | 1020 | 1520 | 191 |
| 2�1/0 | 259 | 0�08 | 2�0 | 0�125 | 3�2 | 0�93�1�51 | 23�6�38�2 | 1265 | 1880 | 217 |
| 2�2/0 | 329 | 0�08 | 2�0 | 0�125 | 3�2 | 0�99�1�63 | 25�1�41�4 | 1515 | 2255 | 250 |
| 2�3/0 | 413 | 0�08 | 2�0 | 0�140 | 3�6 | 1�03�1�77 | 26�2�45�0 | 1810 | 2694 | 286 |
| 2�4/0 | 532 | 0�08 | 2�0 | 0�140 | 3�6 | 1�10�1�89 | 27�9�48�0 | 2175 | 3237 | 328 |

Ampacity-Based on a conductor temperature of 90℃ and an ambient air temperature of 40℃, per ICEA S-75-381�

4	www.caledonian-cables.co.uk  www.addison-cables.com